## Slide 1
INSTRUMENTAL RESEARCH
Karine Perraut (CNRS/INSU)
with contributions of
F. Martinache, D. Mouillet, G. Perrin, R. Bacon, J.L. Beuzit, E. Chapillon, E. Choquet, J.G. Cuby, H. Flores, T. Fusco, M. Gérin, I. Guinouard, F. Hammer, B. Neichel, J. Pety, M. Puech

## Slide 2: the specific context of astronomy and astrophysics
No on-the-shelf instruments
Need to develop new concepts
R&D and cutting-edge devices
 Challenges, creativity, long-term developments, partnerships
Mastering the whole development chain
On-sky performance validation
 Feedbacks from/for the community at large
R&D and instrument developments feed each other
Major and fast improvement of performance
 Long-term instrumental sectors
SHARP – 4 mas
NACO – 0.5 mas
GRAVITY – 30-50 µas
Conceptual technological
breakthroughs
[GRAVITY Collaboration 2018]

## Slide 3: Part of a Long-term strategy based on a national coordination …
National Roadmaps
  CNRS/INSU - Astronomy & Astrophysics (AA) and CNES Prospectives every 5 years
  « Facilities/intruments » and « R&D » are main sections of the exercise
  Roadmap implemented by the CNRS/INSU Spécialisée in AA (CSAA)
National oversight committees (CNRS/INSU)
  Working groups, notably for ELT (adaptative optics, multi-object spectrographs)
Share of expertise and of the know-how
(Bi-)annual project and resource reviews with the involved french teams
National Programs and Specific Actions
  Fostering and structuring the community by science themes
  Critical mass (Large Programs, trans-instrument views, …)
Commitment
Studies
Science
Manufacturing
Long-term
Reactivity
Community

## Slide 4: … And on strong Partnerships at all scales
European/International consortia
French institutes Astronomy Astrophysics
French academic experts
(optics, signal processing, cryogeny, materials, …)
Technological Platforms
Cutting-edge companies
Close collaboration
Transfer/use in other domains
Start-ups
ESO
Existing technologies used for astronomy
Dedicated developments

## Slide 5: Funding
OPTICON/Radionet – ESO R&D Program
Local LabEx (Lyon, Grenoble) *
Thematic Labex (FOCUS) **
Regional funds (DIM, …)
French institutes Astronomy Astrophysics
French academic experts
(optics, signal processing, cryogeny, materials, …)
Technological Plateforms
Cutting-edge companies
ESO
Fond Unique Interministériel (FUI)
France Relance *
Technological funds
(CNRS RTB, CARNOT)
PIA-3 PIA-4 France 2030 *
ERC, ANR
* stimulus packages
PIA – Programme d’Investissement d’Avenir

## Slide 6: The Research infrastructure (RI) « Instrum eso »
Part of a broader context that grows in complexity,
RI « INSTRUM ESO » is a key tool of coordination
  To secure the construction of the instruments in the optical domain
  To support R&D activities for future instruments
  To ensure the consolidation and sustainability of the know-how
  To ensure the overall consistency of developments
  To guarantee that instruments serve at best the community at large
Funded in 2005
15 French Partners
Coordination by CNRS
Budget: 850 k€ in 2022

## Slide 7: ESO provides a development FRAMEWORK and triggers innovation
ESO as an observatory
  Infrastructures that host instruments, including visitor ones
  (PIONIER, ExTra, CONCERTO, HiRISE)
ESO as a community
With common roadmaps, scientific discussions
ESO as a partner
Within consortia, FPx/H2020/Horizon Europe/ORP proposals
La Silla
Paranal
Armazones
Chajnantor

## Slide 8: FRENCH INSTRUMENTAL research within the eso frameworK
Well-identified and historic sectors
  Adaptive optics and high contrast imaging
  Optical long-baseline interferometry
  Spectroscopy
  [Integral Field and Multi-Object Spectrocopy]
Transverse expertise
  Optical design and manufacturing
  Instrument control
  Detectors
  Signal processing
Data
Concept
On-sky validation
Science
R&D

## Slide 9: Adaptive optics and high-contrast imaging
MACAO (Tip-Tilt), COME-ON(+), ADONIS (PI), NAOS (PI), SPHERE (PI), MICADO, HARMONI (co-PI), MORFEO
On-sky testbenches (CANARY, PAPYRUS)
Components: Deformable mirrors, fast and low-noise detectors, coronagraphic masks, RTC
 CILAS company, AlpAO and FLI start-ups
System: wavefront control, dedicated testbenches
Data
Concept
On-sky
Science
R&D
Instrument concept, manufacturing, tests, and commissioning
Data reduction pipeline, advanced post-processing
Exoplanets, protoplanetary disks, solar system bodies, Galactic Center, stars
Ophtalmology, advanced microscopy, …

## Slide 10: The long-term CNRS-ONERA-ESO partnership
COME-ON NAOS SPHERE HARMONI
SPHERE+ PCS
1990 2002 2014 2024+
First adaptive-optics system for astronomy
(3.6-m telescope)
Concept demonstrator
First adaptive-optics for the VLT 8-m telescope
VLT Planet Finder
Adaptive-optics for the ELT 39-m telescope
Operational instruments
Classical adaptive optics
Toward ultimate performance

## Slide 11: Improving the contrast – HR 4796A
COME-ON+ NAOS SPHERE HARMONI
SPHERE+ PCS
1990 2002 2014 2024+
[Mouillet+1997, Augereau+1999]
HR 4796A
[Private communication]
[Langlois+2014]

## Slide 12: Optical long-baseline interferometry
Instrument concept, manufacturing, tests, and commissioning
VINCI, MIDI (co-PI), AMBER (PI), PIONIER (PI), GRAVITY, MATISSE (PI), GRAVITY+
Components: single-mode fibers, integrated optics
 Le Verre Fluoré company, CEA-LETI
System: nulling and aperture masking
Data reduction pipeline, JMMC tools (from observations to modelling and images), Expertise Center, VLTI schools
Galactic Center, Active Galaxy Nuclei, exoplanets, protoplanetary disks, stars, solar system bodies
Data
Concept
On-sky
Science
R&D
J.M. Mariotti

## Slide 13: ASTROPHOTONICS to improve accuracy and precision
Spatial filtering: clean up the wavefront, do high-precision interferometry
  Singlemode fibers (VINCI, AMBER, PIONIER, GRAVITY)
  Integrated optics (PIONIER, GRAVITY)
  Stability, flexibility, compactness (cryogeny, combination of more telescopes)
GRAVITY chip manufactured by photolithography
Large Magellanic Cloud
The 1%-precision diameters with PIONIER contribute to a LMC distance determined with a precision of 1%
[Pietrzynski+2019]
GRAVITY fluoride fibers
VINCI fluoride fiber combiner

## Slide 14: Improving sensitivity and data richness – NGC1068
[Wittkowski+2004]
MACAO-VINCI
MIDI
[Jaffe+2004]
2004
(2 telescopes)
2020
(4 telescopes)
MATISSE
[Gamez Rosas+2022]
2022
(4 telescopes)
GRAVITY
[GRAVITY Collaboration 2020, Vermot 2022]

## Slide 15: The french high-angular resolution community
A large and recognized community
~200 people for 90 ETP (2015-2021)
Strong recognition
[Prizes: Academy of Science, Michelson and Fizeau, La Recherche, SF2A, EAS]
ASHRA coordinates the community
Forum of experts of the different fields
Support for R&D, summer schools, workshops,…
http://ashra-insu.fr/
Chart: PhD (2015-2021)
| Adaptive Optics | Interferometry | High Contrast | Signal | Others
 | 24 | 13 | 13 | 17 | 17
69 in total
  Instruments offer a motivating and gratifying training ground

## Slide 16: Spectroscopy
Instrument concept, manufacturing, tests, and commissioning
VIMOS (PI), FLAMES-GIRAFFE (PI), X-shooter, MUSE (PI), 4MOST, MOONS (co-PI), HARMONI (co-PI), MOSAIC (PI)
Components: fibers, slicers
 SEDI, Winlight
Data reduction, sky subtraction
Galaxies, stellar populations, star formation, surveys (VVDS/VUDS,Gaia, Euclid), Solar system
Data
Concept
On-sky
Science
R&D
64 bundles integrated in one slit of MOONS
VIMOS featured images
MUSE slicers

## Slide 17: MUSE DEEP FIELDS – beyond hubble
4.6 Mpc
Circum-galactic medium
Ubiquitous Ly⍺ haloes (z=3-7) surrounding galaxies
[Wisotzki+2018]
Inter-galactic medium
z=3 filament of ionised Ly⍺
[Bacon+2021])
The deepest spectroscopic survey ever: up to 140 hours depth
[Bacon+2022]
Detection of galaxies at AB>30 and study of the extended ultra faint emission

## Slide 18: DetectORS
Long-term expertise:
Development/characterization of mid-infrared detectors
Cryogeny (chips, cryomechanisms)
 CEA/Irfu, Institut Néel
Heterodyne receivers, correlators, local oscillators, high frequency electronics in the (sub-)millimeter
 IRAM, Institut Néel
National coordination for detector developments from near-infrared to sub-millimeter
VISIR cryostat
TIMMI2 on 3.6-m telescope at La Silla
bPic at 10 µm
[Lagage & Pantin, 1994]

## Slide 19: developments in the (sub)-millimeter
Bolometers of ArTéMiS on APEX
CONCERTO on APEX
2000-pixel KIDS array
Instrument manufacturing
NOEMA and NIKA2 on 30-m IRAM
CONCERTO and ArTéMiS camera on APEX
Band-7 cartridge of ALMA
Components: heterodyne correlators, KIDS array, high-frequency electronics
Data model, online calibration
Artemix database
User support (European ARC, IRAM schools)
Data
Concept
On-sky
R&D
ALMA band-7 cartridge
https://artemix.obspm.fr/

## Slide 20: Signal PROCESSING
Challenge: Extract the most out of extremely rich and heterogeneous data sets
Co-conception
Advanced data (post-)processing
  Sky subtraction, automatic spectral analysis, Point Spread Function
  (PSF) deconvolution/reconstruction, inverse problem approach
  Artificial Intelligence breakthrough
  Joint analysis of multivariate data, noisy data
  Massive data flows, extraction from huge archives
  Real-time control
Data accessibility
  Data centers (SPHERE-DC, Artemix, …) in close collaboration with ESO
  Standard, interoperability, virtual observatory (CDS)
Instrumental Research
Service to the community
SPHERE
DAWN
[Fétick+2019; LP: Vernazza+]
VESTA

## Slide 21
Data
Instruments
On-sky
Science
R&D
Partner-ships
Roadmap